Power Flow Algorithm

- Introduction

In these notes we articulate the basic steps taken by a standard power flow algorithm.

- The algorithm

The NR algorithm, for application to the power flow problem, is:

- Specify:

- All admittance data (series Y, charging capacitance, transformer taps, & shunts)

- Pd and Qd for all buses (whether PV, PQ, or swing)

- Pg and |V| for all PV buses

- |V| for swing bus, with (=0(

- Set the iteration counter j=0. Use one of the following to guess the initial solution.

- Flat Start: Vk=1.0 (0( for all buses.

- Hot Start: Use the solution to a previously solved case for this network.

- Compute the mismatch vector for x(j), denoted as f(x). In what follows, we denote elements of the mismatch vector as (Pk and (Qk corresponding to the real and reactive power mismatch, respectively, for the kth bus (which would not be the kth element of the mismatch vector for two reasons: one reason pertains to the swing bus and the other reason to the fact that for type PQ buses, there are two equations per bus and not one). This computation will also result in all necessary calculated real and reactive power injections. Perform the following stopping criterion tests:

If |(Pk|< (P for all type PQ & PV buses and

If ||(Qk|< (Q for all type PQ buses,

Then go to step 5

Else

Go to step 4.

- Find an improved solution as follows:

- Evaluate the Jacobian J at x(j). Denote this Jacobian as J(j)

- Solve for (x(j) by applying LU decomposition to:

- Compute the updated solution vector as x(j+1)= x(j)+ (x(j).

- Return to step 3 with j=j+1.

- Stop.

The above algorithm is applicable as long as all PV buses remain within reactive limits. To account for generator reactive limits, we must modify the algorithm so that, at each iteration, we check to ensure PV bus reactive generation is within its limits. In this case, steps 1-4 remain as above, but we need new steps 5-6, as follows:

- Check reactive limits for all generator buses as follows:

  - For all type PV buses, perform the following test:

- If Qgk>Qgk,max, then

( Qgk=Qgk,max and CHANGE bus k to a type PQ bus (see step 6a)

- If Qgk< Qgk,min, then

( Qgk=Qgk,min and CHANGE bus k to a type PQ bus (see step 6b)

  - For all type PQ generator buses, perform the following test:

- If Qgk=Qgk,max and |Vk|>|Vk,set| or if Qgk=Qgk,min and |Vk|<|Vk,set|, then

( CHANGE this bus back to a type PV bus (see step 6b)

- If there were no CHANGES in Step 5, then stop. If there were one or more CHANGES in step 5, then modify the solution vector and the mismatch vector as follows:

  - For each CHANGE made in step 5-a (changing a PV bus to a PQ bus):

- NG=NG-1

- Include the variable (Vk to the vector (x and the variable Vk to the vector x.

- Include reactive eqt. corresponding to bus k to the vector f(x).

- Modify the Jacobian by adding a column to J12 and adding a row to J21 and J22.

  - For each CHANGE made in Step 5-b (changing a PQ gen bus back to a PV bus):

- NG=NG+1

- Remove variable (Vk from vector (x and variable Vk from vector x.

- Remove reactive eqt. corresponding to bus k from vector f(x).

- Modify the Jacobian by removing a column from J12 and removing a row from J21 and J22.

After modifications have been made for all CHANGES, go back to Step 4.

When the algorithm stops, then all line flows may be computed using

Example: (Same as example 10.6 in text)

Find (2, , (3, SG1, and QG2 for the system of Fig. 1. All the shunt elements are capacitors with admittance yc = j0.01, while all the series elements are inductors with impedance zL=j0.1.

Fig. 1

Solution:  The admittance matrix is:

Bus 1 is the swing bus. Bus 2 is a PV bus. Bus 3 is a PQ bus. The unknown variables are (2, (3, and |V3|. Thus, we will need three equations, and the Jacobian is a 3 x 3 matrix.

We first write the real power flow equation, putting in the known values of |V1|, |V2|, (1, and the Bij’s. Note that since we have neglected line resistance in the problem statement, all Gij’s are zero.

The equation for Q2(x) will not help since we do not know the reactive injection for bus 2, and its inclusion would bring in the reactive injection on the left-hand side as an additional unknown. But this loss of an equation is compensated by the fact that we know |V2| (and this will always be the case for a type PV bus). So we do not need to write the equation for Q2(x). Yet, because bus 3 is a type PQ bus, we do know its reactive injection, and so we will know the left hand side of the reactive power flow equation. This is fortunate, since we do not know |V3| (and this will always be the situation for a type PQ bus).

The update vector and Jacobian matrix is:

The various partial derivatives for the Jacobian are:

Note that the injections are P2=PG2=0.6661, P3=-PD3=-2.8653, and Q3=-QD3=-1.2244; these quantities remain constant through the entire iterative process. We use a flat start; so our initial guess is (2=(3=0( and |V3|=1.0.

As expected for a flat start, mismatch is large. Next calculate the Jacobian matrix:

Note Jacobian sub-matrices J12 and J21 are both filled with 0s. This is because (a) G=0 & (b) these derivatives depend on sin terms, because this is iteration 0 of a flat start, all angles are 0, therefore sin terms are 0.

As mentioned, commercial power flow programs normally use LU factorization to obtain the update. In this case, however, because of the low dimensionality, we may invert the Jacobian. Taking advantage of the block diagonal structure, we have:

Now we compute:

The elements of the update vector corresponding to angles are in radians. We can easily convert them to degrees:

We now find x(1) as follows:

We note that the exact solution is, so this is pretty good progress for one iteration!

We proceed to the next iteration using the new values (2(1)=-2.9396(, (3(1)=-9.5139(,  and |V3|(1)=0.9638. We get P2(x(1)) = 0.6202, and thus (P2(1)= 0.6202-0.6661=-0.0459. Similarly, we get the updated mismatch vector:

Note that, in just one iteration, the mismatch vector has been reduced by a factor of about 10.  Calculating J using the updated values of the variables, we find that

The matrix should be compared with J from the previous iteration, given below for convenience:

It has not changed much. The elements in the off-diagonal matrices J12 and J21 are no longer zero, but their elements are small compared to the elements in the diagonal matrices J11 and  J22. The diagonal matrices themselves have not changed much.  It is also important to note that the upper left-hand 2(2 block of the Jacobian matrix is symmetric. This fact allows for a significant savings in storage when dealing with large systems.

The updated inverse is

Comparing this inverted Jacobian with that of the last iteration, repeated below:

we again do not see much change.

Using the same procedure as before to calculate the update vector, we obtain

This is very close to the correct answer, which is . The largest error is only about 0.08%.

Of course in the usual problem we do not know the answer and we would continue into the next iteration. We would stop the iterations when the mismatch vector satisfies the required tolerance. We would find:

The mismatch has been reduced from that of the last iteration by a factor of 100 and is small enough.  On that basis we can stop here. So we stop with the values                 (2=-3.0023o, (3=-9.9924o, and |V3|=0.9502. It remains to calculate the real and reactive power generation at the swing bus (bus 1) and the reactive power generation at the PV bus (bus 2) using the calculated values of (2, (3, and |V3|.

Now: what would happen if           QG2max=150 MVARS (1.5 pu)? Then the reactive power injection for bus 2 would be infeasible. The program would check for this, and when a violation occurs, as it does in this case:

QG2=164.95 MVARS>150MVARS,

it would change bus 2 from a PV bus to a PQ bus. This would result in the following solution procedure:

Solution:  The admittance matrix remains the same, and is:

Bus 1 is still the swing bus. But bus 2 is no longer a PV bus but is now a PQ bus (since we are specifying Q). Bus 3 is a PQ bus. The unknown variables are (2, (3, |V2|, and |V3|. Note that we have added the variable |V2|, since bus 2 is no longer a voltage control bus and we can therefore NOT control |V2|. Thus, we will need four equations (instead of three), and the Jacobian is a 4 x 4 matrix.

We first write the real power flow equations, putting in the known values of |V1|, |V2|, (1, and the Bij’s. Again, since we have neglected line resistance in the problem statement, all Gij’s are zero.

(Note: In the first iteration, we had |V2|=1.0 and so it did not appear in the P2 expression. Now, since it is a variable, it does.)

Before, we did NOT use the equation for  Q2(x), since bus 2 was assumed to be regulating and therefore a PV bus. Now, the it is no longer regulating the voltage because its reactive limit is set at 1.5 pu. Since its reactive limit is set at 1.5 pu, we know Q2. So we will bring in the Q2 equation.

Likewise (as before in this case), because bus 3 is a type PQ bus, we do know its reactive injection, and so we will know the left hand side of the reactive power flow equation.

The update vector and Jacobian matrix are:

The various partial derivatives for the Jacobian are….

Assignment: Write Matlab code to implement the calculations done in the above example, for this example. Your code should perform two iterations. Due Friday 11/12.