Notes 7: Symmetrical Components 3

7.1 Sequence impedances: loads

Consider the below Y-connected balanced load, Fig. 1. Note it is grounded through an impedance Zn. Because of this, the neutral point may not be at the same potential as the ground.

Fig. 1

Let’s use KVL to write the voltage equations for the three phase-to-ground voltages Vag, Vbg, and Vcg as a function of the line currents and the load impedances.

(1)

We can replace In if we apply KCL at the junction node at the center of the Y.

(2)

Substitution of (2) into (1) yields:

(3)

Expanding the Zn through and then collecting terms with like currents yields:

(4)

Now let’s write these voltage equations in matrix form.

(5)

In compact notation, eq. (5) is:

(6)

Now I pose the following question….

If we can somehow find a way to transform eq. (5) into an equation that relates sequence voltages V012 on the LHS to sequence currents I012 on the RHS, what will the impedance matrix look like?

To answer this question, we need to derive eq. (7).

(7)

We refer to the impedance matrix, Z012, that relates sequence voltages to sequence currents as the sequence impedance matrix.

To derive eq. (7), consider what we have: eq. (6).

Recall that Vabc=AV012 and Iabc=AI012. Substituting into eq. (6) yields:

(8)

Now pre-multiply both sides by A-1. This is:

(9)

The left hand side is just V012.

(10)

Comparison of (10) with (7) indicates that the sequence impedance matrix, Z012, is given by

(11)

So what does Z012 look like? We know all three elements of eq. (11) so why don’t we do the matrix math and find out…

Multiplying the two right-hand matrices:

Now multiplying the remaining matrices:

Plugging this expression into eq. (10)…

(12)

Now this is an amazing thing…

all off-diagonal terms are zero!

What does this mean?

It means that

- the only current that determines the zero sequence voltage is the zero sequence current.

- the only current that determines the positive sequence voltage is the positive sequence current.

- the only current that determines the negative sequence voltage is the negative sequence current.

The is the case whenever the impedance matrix is diagonal, with off-diagonals all 0.

We say that the three equations represented by the matrix relation are uncoupled in that no variable (current) appears in more than one equation.

So these 3 uncoupled equations are:

(13)

The really nice thing about these 3 equations is that they represent 3 separate and distinct SINGLE PHASE CIRCUITS!!!!

Therefore we can just apply EE 303 per-phase analysis to analyze them. Fig. 2 illustrates the single phase circuits.

Fig. 2

Some questions:

- Why doesn’t the neutral impedance appear in the positive & negative sequence networks?

Because the positive and negative sequence networks contain balanced currents only, and balanced currents sum to 0 and therefore do not contribute to flow in the neutral.

- Why do we have 3Zn in the zero sequence network instead of just Zn?

Recall IA+IB+IC=In. We defined . So actually flows in the Zn. But our zero sequence network has only  flowing. Therefore, to obtain the correct voltage drop seen in the neutral conductor with a flow of only , we model the zero-sequence impedance as 3Zn. Then the voltage drop is , as it should be .

- What do these three networks look like if the neutral is solidly grounded (no neutral impedance)?

Positive and negative sequence networks are the same. Zero sequence is the same except Zn=0.

- What do these three networks look like if the neutral is ungrounded (floating)?

Positive and negative sequence networks are the same. Zero sequence has an open circuit, which means .

- What is benefit of this?

Answer: If the load is symmetric (so that Z012 is diagonal), then the three networks will decouple and we can analyze an unbalanced situation with three separate per-phase analyses.

- What if the load (or line, or load and line) is not symmetric?

Look at this case closely.

Consider a general a-b-c impedance matrix as given below.

(14)

Recall eq. (11), repeated here for convenience:

(11)

Then we compute Z012 using the a-b-c impedance matrix of eq. (14):

(12)

This is a general impedance matrix in that

- The self-terms Zaa, Zbb, and Zcc differ

- There exist non-0 mutuals Zab, Zac, and Zbc

- The mutuals differ

We will not go through the detailed matrix multiplication here but instead will just provide the expressions for each term in the Z012 matrix, as follows:

(13)

(14)

(15)

(16)

(17)

(18)

For our 012 circuits to be decoupled (and thus obtain the advantage of symmetrical component decomposition – see question 5 above), the off-diagonal elements of Z012 must be 0.

So what are the conditions for the off-diagonal elements of Z012 to be 0?

We can obtain these conditions by setting eqs. (15)-(18) to 0 and solving them simultaneously.

We will not go through this pain here. Rather, you should be able to inspect eqs. (15)-(18) and notice that for them to be 0, it must be true that

(19)

(Diagonal phase impedances must be equal)

(20)

(Offdiagonal phase impedances must be equal).

Under the conditions imposed by eqs. (19) and (20), it will be the case that the 012 impedances are given by

(21)

(22)

(23)

Check it for the example we worked above corresponding to Fig. 1:

Some additional observations from this work:

- By eq. (14), the positive and negative sequence impedances are always equal, independent of whether the load is symmetric or not. This is true for transmission lines, cables, and transformers.

- The 0-sequence impedance Z0 is not equal to the positive and negative sequence impedances of a symmetrical load unless the mutual phase impedances Zab=Zac=Zbc are 0.

# Footnotes

It is not true for rotating machines because positive sequence currents, rotating in the same direction as the rotor, produce fluxes in the rotor iron differently than the negative sequence currents which rotate in the opposite direction as the rotor.