## Slide 1: Economic systems for electric power planning Locational Marginal Prices
Professor James McCalley

## Slide 2
Overview of LMPs
In the LPOPF without demand bidding, we saw that locational marginal price (LMP) at bus k gives the cost to the system of supplying one more MW of demand at bus k.
Here, we provide a formulation of the LPOPF, but this time we include losses in the power balance equation.
Our goal is to see if we can break down the LMP into a set of individual components, to “see what its made of,” so-to-speak.

## Slide 3
Overview of LMPs
Objective:
Power balance:
Line flow constraints:
In CPLEX, we should enter these constraints as :
Here, however, we want simplicity. Doing so does not prevent bidirectional flows; it merely enables us to be concerned with reaching the upper bound in only one direction.
Lagrangian:

## Slide 4
Overview of LMPs
Lagrangian:
First-order conditions:
But we are more interested in the load buses:
Note that Pdk is not a decision variable, and therefore we do not set the Lagrangian derivative wrspt it equal to 0.
So what is this thing , i.e., the derivative wrspt Pdk?
And we are interested in making this evaluation at the optimum:
(17a)
(17b)

## Slide 5
Envelope Theorem
Consider the following optimization problem.
where x is the decision variable; and θ is some parameter that is influential in the problem, but it is not a decision variable, i.e., we may not select its value. We desire to find how the optimal value of f changes with respect to θ.
Let’s give a name to the optimal value of f. Let’s call it V; it is a function of θ. That is,
(18)
(19)
Then what we are trying to find is
(20)
Note (from (19)): V will change both because θ affects f and because it also affects the optimal choice of x (denoted as x*).

## Slide 6
Envelope Theorem
And recall (from (19)):
How does optimal value of f, denoted V, change with θ? That is,
OR…
It is important to understand what V is, and what it is not.
It is not f, i.e., it is not our objective function.
It is the optimal value of our objective function.
It is the value of our objective function when x is chosen to be x*.
The process of choosing x to be x* is the process of solving the optimization problem. So V is a “function” that includes this process.
This means that ∂V/∂θ finds how a change in θ affects f(x*) (and not just f(x); in other words, ∂V/∂θ differentiates “thru this process”.
(21)

## Slide 7
Envelope Theorem
Envelope theorem: The total rate of change in the optimal value of the objective function due to a small change in the parameter θ is the rate of change in the Lagrangian L evaluated at the optimal value of x. That is,
(22)
The proof requires several lines of calculus that we omit here.

## Slide 8
Locational Marginal Price
The envelope theorem enables us to interpret the meaning of (17b).
Armed with the envelope theorem, we may now identify the meaning to (17), which is repeated here for convenience:
(17b)
These are the same!
Then these are the same!
Implication is that the RHS of (17b) expresses the rate of change in the optimal value of our objective function for a unit change in Pdk. Thus, the envelope theorem provides a clear understanding, and a theoretic basis, for locational marginal prices (LMPs).

## Slide 9
Locational Marginal Price
In other words, if we solve the optimization problem with Pdk=Pdk0, obtaining f*(Pdk0), and then resolve the optimization problem with Pdk=Pdk0+1, obtaining f*(Pdk0+1), then
We call
the LMP for bus k, that is,
(23)
(24)
Written slightly different, it is
(25)

## Slide 10
Locational Marginal Price
And (25) show us a very useful way to think about LMPs. They consist of three components:
You may gain additional insight into each of the above terms by reading my notes “Understanding LMPs,” which can be downloaded from the website.